## Points
HMI DNP | Description | State 0 | State 1 | Alarm State | Page Name | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
0 | Q-1-JR-PV | OPEN | CLOSE | 0 | Breaker Status | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | . | . | . | . | . | . | . | . | . | . | .
1 | Q-2-JR-PV | OPEN | CLOSE | 0 | Breaker Alarms | 17 | 27 | 22 | 31 | 46 | 51 | 52 | 57 | 58 | 60 | 62 | 90 | 91 | . | . | . | . | . | . | . | . | . | . | . | .
2 | Q-3-JR-PV (138kV BKR B6) | OPEN | CLOSE | 0 | Breaker Alarms 2 | 22 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | . | . | . | . | . | . | . | . | . | . | . | .
3 | Q-4-JR-PV (138kV BKR B8) | OPEN | CLOSE | 0 | Comm Alarms | 59 | 61 | 28 | 33 | 35 | 38 | 39 | 40 | 44 | 47 | 49 | 50 | 54 | 55 | 56 | . | . | . | . | . | . | . | . | . | .
4 | Q-1-FW-PV | OPEN | CLOSE | 0 | Comm Alarms 2 | 18 | 92 | 93 | 94 | . | . | . | . | . | . | 24 | 115 | 116 | 117 | 118 | 119 | 120 | . | . | . | . | . | . | . | .
5 | Q-2-FW-PV BKR B3 (138kV Bkr B3) | OPEN | CLOSE | 0 | Station Alarms | 14 | 23 | 45 | 15 | 16 | . | . | . | . | . | 21 | 102 | 43 | . | . | . | . | . | . | . | 41 | 144 | 145 | . | .
6 | Q-3-FW-PV-X (BKR B5) | OPEN | CLOSE | 0 | Relay Alarms | 19 | 95 | 96 | 97 | . | . | . | . | . | . | [7 empty] | . | . | . | . | . | . | . | . | bar: 24 to 120
7 | Q-4-FW-PV-X (BKR B7) | OPEN | CLOSE | 0 | Station Non-Critical Alarms | . | . | . | . | . | . | . | . | . | . | [7 empty] | . | . | . | . | . | . | . | . | bar: 24 to 120
8 | Q-11-PV-HD-X | OPEN | CLOSE | 0 | Relay Comm Alarms | 26 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | . | . | . | . | . | . | . | . | . | . | . | . | . | .
9 | Q-12-PV-HD-X (138kV Bkr B10) | OPEN | CLOSE | 0 | Meter Comm Alarms | 25 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | . | . | . | . | . | . | . | . | . | . | .
10 | Q-13-PV-HD-X (138kV Bkr B11) | OPEN | CLOSE | 0 | 138KV Bus Alarms | 20 | 98 | 99 | 100 | 101 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
11 | Q-14-PV-HD-X | OPEN | CLOSE | 0
12 | Q-21-PV-HP | OPEN | CLOSE | 0
13 | 138kV Bkr B14 | OPEN | CLOSE | 0
14 | Comm Processor Alarm |  |  | 1
15 | Station Attended |  |  | 1
16 | Station Battery Low Voltage |  |  | 1
17 | Breaker Low Air Pressure |  |  | 1
18 | Communications Trouble (Calc 1) |  |  | 1
19 | Relay Failure (Calc 2) |  |  | 1
20 | 138kV Bus Protection (Calc 3) |  |  | 1 |  | 141 128: 1; 142 129: 2; 143 130: 3; 143 131: 4; 143 132: 5
21 | Transfer Trip Alarm (Calc 4) |  |  | 1 |  | 141 128: 6; 142 129: 7; 143 130: 8; 143 131: 9; 143 132: 10
22 | 138kV Breaker Failure (Calc 5) |  |  | 1 |  | 141 128: 11; 142 129: 12; 143 130: 13; 143 131: 14; 143 132: 15
23 | RTU Local/Remote Switch | LOCAL | REMOTE | 1 |  | 141 128: 16; 142 129: 17; 143 130: 18; 143 131: 19; 143 132: 20
24 | D20 Comm Trouble (Calc 6) |  |  | 1 |  | 141 128: 21; 142 129: 22; 143 130: 23; 143 131: 24; 143 132: 25
25 | Meter Comm Trouble (Calc 7) |  |  | 1
26 | Relay Meter Trouble (Calc 8) |  |  | 1
27 | 138kV Bkr B3 Critical Alarm |  |  | 1
28 | Q-2-JR-PV PRC FAILURE |  |  | 1
29 | Spare |  |  | 1
30 | Spare |  |  | 1
31 | 138kV Bkr B6 Critical Alarm |  |  | 1
32 | Undefined |  |  | 1
33 | Q-3-FW-PV-X PRC Failure |  |  | 1
34 | Spare |  |  | 1
35 | Q-11-PV-HD-X PRC Failure |  |  | 1
36 | Spare 32 |  |  | 1
37 | Spare 49 |  |  | 1
38 | Q-14-PV-HD-X PRC Failure |  |  | 1
39 | Carrier Trouble Alarms |  |  | 1
40 | Carrier Checkback Alarms |  |  | 1
41 | LOP Alarm (Calc 9) |  |  | 1
42 | Spare |  |  | 1
43 | Direct Transfer Trip Received Alarm |  |  | 1
44 | Q-3-FW-X Line Fiber Channel Alarm |  |  | 1
45 | GPS Out of Lock Alarm |  |  | 1
46 | Breaker B5 Critical |  |  | 1
47 | Fowles-Pleasant Valley (Q2) Line Comm Channel Alarm |  |  | 1
48 | Spare |  |  | 1
49 | Q-1-JR-PV Line Fiber Channel Alarm |  |  | 1
50 | Q-4-FW-PV-X Line Fiber Channel Alarm |  |  | 1
51 | Breaker B2 Critical |  |  | 1
52 | Breaker B7 Critical |  |  | 1
53 | Spare |  |  | 1
54 | Q-3-JR-PV Line Comm Channel Alarm |  |  | 1
55 | Q-4-JR-PV Line Comm Channel Alarm |  |  | 1
56 | Q-1-FW-PV Line Comm Channel Alarm |  |  | 1
57 | 138kV Bkr B8 Critical Alarm |  |  | 1
58 | 138kV Bkr B14 Critical Alarm |  |  | 1
59 | Harding-Pleasant Valley (Q12) Line Comm Channel Alarm |  |  | 1
60 | 138kV Bkr B10 Critical Alarm |  |  | 1
61 | Harding-Pleasant Valley (Q13) Line Comm Channel Alarm |  |  | 1
62 | 138kV Bkr B11 Critical Alarm |  |  | 1
63 |  |  |  | 1
64 |  |  |  | 1
65 |  |  |  | 1
66 |  |  |  | 1
67 |  |  |  | 1
68 |  |  |  | 1
69 |  |  |  | 1
70 |  |  |  | 1
71 |  |  |  | 1
72 |  |  |  | 1
73 |  |  |  | 1
74 |  |  |  | 1
75 |  |  |  | 1
76 |  |  |  | 1
77 |  |  |  | 1
78 |  |  |  | 1
79 |  |  |  | 1
80 |  |  |  | 1
81 |  |  |  | 1
82 |  |  |  | 1
83 |  |  |  | 1
84 |  |  |  | 1
85 |  |  |  | 1
86 |  |  |  | 1
87 |  |  |  | 1
88 |  |  |  | 1
89 |  |  |  | 1
90 | Breaker Failure Cutoff Switch |  |  | 1
91 | Breaker Out of Service Alarm |  |  | 1
92 | RF Squelch |  |  | 1
93 | Communication Trouble |  |  | 1
94 | Telemetering Trouble HK-PV |  |  | 1
95 | Primary Digital Relay Failure |  |  | 1
96 | Backup Digital Relay Failure |  |  | 1
97 | Relay Failure Alarm |  |  | 1
98 | Q-1 BUS DIFF OPERATE |  |  | 1
99 | P16 Q-2-PV-BUS |  |  | 1
100 | Q-3 BUS DIFF OPERATE |  |  | 1
101 | Q-4 BUS DIFF OPERATE |  |  | 1
102 | B06 Q2-JR-PV |  |  | 1
103 | BUS 1 BF OPERATE |  |  | 1
104 | B15 Q-71-IP-B BF |  |  | 1
105 | B16 Q2 BF |  |  | 1
106 | BUS 3 BF OPERATE |  |  | 1
107 | B17 Q-72-IP-B BF |  |  | 1
108 | BUS 4 BF OPERATE |  |  | 1
109 | B19 Q21-HP BF |  |  | 1
110 | B21 Q12-HD BF |  |  | 1
111 | B22 Q14-HD BF |  |  | 1
112 | B23 Q11-HD BF |  |  | 1
113 | B24 Q13-HD BF |  |  | 1
114 | Breaker Failure Operation Alarm |  |  | 1
115 | D20A #1 Comm WD |  |  | 1
116 | D20A #2 Comm WD |  |  | 1
117 | D20S #1 Comm WD |  |  | 1
118 | D20S #2 Comm WD |  |  | 1
119 | D20K #1 Comm WD |  |  | 1
120 | D20C #1 Comm WD |  |  | 1
121 | Q-1-FW-PV Bitronics Meter Comm W/D |  |  | 1
122 | Q-3-FW-PV SATEC Meter Comm W/D |  |  | 1
123 | RTAC Comm W/D |  |  | 1
124 | Q-22-PV-OEA ION Meter Comm W/D |  |  | 1
125 | Q-2-FW-PV Satec Meter Comm W/D |  |  | 1
126 | Q-4-FW-PV-X Satec Meter Comm W/D |  |  | 1
127 | Q-1-JR-PV Satec Meter Comm W/D |  |  | 1
128 | Q-3-JR-PV Satec Meter Comm W/D |  |  | 1
129 | Q-4-JR-PV Satec Meter Comm W/D |  |  | 1
130 | Q-22-PV-WAK Satec Meter Comm W/D |  |  | 1
131 | Fowles-Pleasant Valley (Q2) Satec Meter RTAC COM3 |  |  | 1
132 | Harding-Pleasant Valley (Q12) Satec Meter RTAC COM3 |  |  | 1
133 | Harding-Pleasant Valley (Q13) Satec Meter RTAC COM3 |  |  | 1
134 | Q-21-PV-HP Port 20 Status |  |  | 1
135 | Q-3-FW-PV SEL421, RTAC COM5 |  |  | 1
136 | Q-4-FW-PV-X SEL421 RTAC COM7 |  |  | 1
137 | Q-1-JR-PV SEL421 RTAC COM22 |  |  | 1
138 | Q-3-JR-PV SEL421 RTAC COM26 |  |  | 1
139 | Q-4-JR-PV SEL421 RTAC COM29 |  |  | 1
140 | SEL421 (PR/WAK) RTAC COM32 |  |  | 1
141 | SEL421 (PR/FW2) RTAC COM11 |  |  | 1
142 | SEL421 (PR/HD12) RTAC COM12 |  |  | 1
143 | SEL421 (PR/HD13) RTAC COM13 |  |  | 1
144 | HARPER SEL 321 PR LOP |  |  | 1
145 | SEL Relay LOP |  |  | 1